## ETL_Solar
Endogenous Technology Learning for a solar technology | [6 empty] | 1 | 2 | 3 | 4
[6 empty] | Learning rate | 25% | 30% | 35% | 40%
|  | ~TFM_INS |  |  |  | 7.19 | 3000 | 3000 | 3000 | 3000
|  | Attribute | REG1 | Pset_PN |  | 14.38 | 2250 | 2100 | 1950 | 1800
| Starting capacity | CCAP0 | 7 | ELCRESOL00 |  | 28.76 | 1687.5 | 1470 | 1267.5 | 1080
| Max Capacity | CCAPM | 500 | ELCRESOL00 |  | 57.52 | 1265.625 | 1029 | 823.875 | 648
| Cost | SC0 | 3000 | ELCRESOL00 |  | 115.04 | 949.2188 | 720.3 | 535.5188 | 388.8
| Number of segment | SEG | 4 | ELCRESOL00 |  | 230.08 | 711.9141 | 504.21 | 348.0872 | 233.28
| Progression learning rate | PRAT | 75% | ELCRESOL00 |  | 460.16 | 533.9355 | 352.947 | 226.2567 | 139.968
[6 empty] | 920.32 | 400.4517 | 247.0629 | 147.0668 | 83.9808
~InputCell: 1-4
1
This table is not strictly related to the implementation of ETL but to the actual reference energy system (structure) of the advanced DemoS in which we have existing a new solar technology. The ETL should start from doubling the value of the existing capacity in the base year so the easiet way to do it is killing the new technologies and leaving the model to be able to increase the solar capacity for the technology ELCRESOL00. Row 20 in this table is used to move the start of the process ELCRNSOL01 to 2100, after the end of the time horizon of this analysis so this technology will not be available. Row 21 is updating the interpolation number 2 on the ELCRESOL00 so will be possible to TIMES to install additional cpacity if needed
~TFM_INS
|  | Attribute | Year | REG1 | Pset_PN
|  | START |  | 2100 | ELCRNSOL01
|  | NCAP_BND | 0 | 0 | ELCRESOL00
Note on C3: Insert Table
Note on B5: The initial cumulative capacity (starting point on the learning curve) for a (non-resource) technology that is modeled as one for which endogenous technology learning (ETL) applies. Learning only begins once this level of installed capacity is realized.
Note on D5: In this example this is based on the existing capacity in the base year
Note on B6: The maximum cumulative capacity (ending point on the learning curve) for a (non-resource) technology that is modeled as one for which endogenous technology learning (ETL) applies.
Note on B7: The investment cost corresponding to the startingpoint on the learning curve for a technology that is modeled as one for which endogenous technology learning (ETL) applies.
Note on B8: The number of segments to be used in approximating the learning curve for a technology that is modeled as one for which endogenous technology learning (ETL) applies.
Note on B9: The “progress ratio” for a technology that is modeled as one for which endogenous technology learning (ETL) applies. The progress ratio, which is referred to as the learning rate, is defined as the ratio of the change in unit investment cost each time cumulative investment in an ETL technology doubles. That is, if the initial unit investment cost is SC0 and the progress ratio is PRAT, then after cumulative investment is doubled the unit investment cost will be PRAT * SC0.
Note on C19: Insert Table
Note on C21: Amit Kanudia: 9/25/2014 deactivate the new solar tech in both regions
Note on C22: Amit Kanudia: 9/25/2014 allow investment in the existing solar tech in REG1